## Read First
Thanks for downloading the in-lite Voltage Drop Calculator! This document is created with the ability to calculate 3 cable runs, but the tabs can be duplicated as necessary for every cable run in your project. The interactive parts of the document (that you have to fill out) are highlighted in blue. If you have questions or need support, please contact us: info@in-lite.com 1-833-472-9960 (8AM-8PM EST, M-F)

## Cable Run 1
IN-LITE PRODUCT (DROP DOWN) | QTY | WATTS | VA | TOTAL VA | 0 | CABLE RUN LENTH (FEET)
|  | 0 | 0 | TOTAL WATTS | 0 | WATTS ON RUN | 0
|  | 0 | 0
|  | 0 | 0 |  |  | CABLE SIZE (DROP DOWN) | Cable Contsant
|  | 0 | 0 |  |  | 12 | 7500
|  | 0 | 0
|  | 0 | 0 |  |  | Voltage Drop | 0
|  | 0 | 0
|  | 0 | 0 |  |  | *The maximum acceptable Voltage Drop is 1.3-1.5 volts
|  | 0 | 0
|  | 0 | 0 | HUB 1
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0

## Cable Run 2
IN-LITE PRODUCT (DROP DOWN) | QTY | WATTS | VA | TOTAL VA | 0 | CABLE RUN LENTH (FEET)
|  | 0 | 0 | TOTAL WATTS | 0 | WATTS ON RUN | 0
|  | 0 | 0
|  | 0 | 0 |  |  | CABLE SIZE (DROP DOWN) | Cable Contsant
|  | 0 | 0 |  |  | 12 | 7500
|  | 0 | 0
|  | 0 | 0 |  |  | Voltage Drop | 0
|  | 0 | 0
|  | 0 | 0 |  |  | *The maximum acceptable Voltage Drop is 1.3-1.5 volts
|  | 0 | 0
|  | 0 | 0 | HUB 2
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0

## Cable Run 3
IN-LITE PRODUCT (DROP DOWN) | QTY | WATTS | VA | TOTAL VA | 0 | CABLE RUN LENTH (FEET)
|  | 0 | 0 | TOTAL WATTS | 0 | WATTS ON RUN | 0
|  | 0 | 0
|  | 0 | 0 |  |  | CABLE SIZE (DROP DOWN) | Cable Contsant
|  | 0 | 0 |  |  | 12 | 7500
|  | 0 | 0
|  | 0 | 0 |  |  | Voltage Drop | 0
|  | 0 | 0
|  | 0 | 0 |  |  | *The maximum acceptable Voltage Drop is 1.3-1.5 volts
|  | 0 | 0
|  | 0 | 0 | HUB 3
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0

## Products
Product Name | Wattage | VA
ACE | 3 | 5.3
ACE CORTEN | 3 | 5.3
ACE DARK | 3 | 5.3
ACE DOWN | 3 | 5.3
ACE DOWN CORTEN | 3 | 5.3
ACE DOWN DARK | 3 | 5.3
ACE DOWN FLAT GREY | 3 | 5.3
ACE DOWN WHITE | 3 | 5.3
ACE FLAT GREY | 3 | 5.3
ACE HIGH | 3 | 5.3
ACE HIGH CORTEN | 3 | 5.3
ACE HIGH DARK | 3 | 5.3
ACE HIGH FLAT GREY | 3 | 5.3
ACE HIGH WHITE | 3 | 5.3
ACE UP-DOWN | 6.5 | 10.3
ACE UP-DOWN CORTEN | 6.5 | 10.3
ACE UP-DOWN DARK | 6.5 | 10.3
ACE UP-DOWN FLAT GREY | 6.5 | 10.3
ACE UP-DOWN WHITE | 6.5 | 10.3
ACE WHITE | 3 | 5.3
BIG CUBID | 1 | 2
BIG CUBID DARK | 1 | 2
BIG CUBID WHITE | 1 | 2
BIG FLUX | 3 | 4.2
BIG FLUX ASSYMMETRIC | 3 | 4.2
BIG FLUX NARROW | 3 | 4.2
BIG NERO (UPDATE 2020) | 7.5 | 11.9
BIG NERO NARROW | 7.5 | 11.9
BIG SCOPE NARROW (UPDATE) | 5 | 7.9
BIG SCOPE WIDE (UPDATE) | 5 | 8
BLINK | 1 | 1.7
BLINK DARK | 1 | 1.7
BLINK WHITE | 1 | 1.7
CUBID | 0.6 | 0.6
CUBID DARK | 0.6 | 0.6
CUBID WHITE | 0.6 | 0.6
DB-LED (CW) | 0.5 | 0.5
DB-LED (WW) | 0.5 | 0.5
DISC | 3 | 4.9
DISC LOW | 3 | 4.9
DISC PENDANT | 3 | 4.9
DISC WALL | 3 | 4.9
EVO DARK | 2 | 2.1
EVO DOWN DARK | 2 | 2.1
EVO GROUND 300 DARK | 1 | 1
EVO HYDE 180C DARK | 0.5 | 0.6
EVO HYDE 180C | 0.5 | 0.6
EVO HYDE 550 DARK | 5 | 2.1
EVO LOW DARK | 2 | 2.1
EVO FLEX 1 | 6.5 | 9.9
EVO FLEX 2 | 11 | 15.7
EVO FLEX 3 | 14.5 | 20.2
FLUX 60 | 1.5 | 2.5
FUSION 22 | 0.2 | 0.2
FUSION 22 DARK | 0.2 | 0.2
FUSION 22 RVS | 0.2 | 0.2
FUSION 22 RVS DARK | 0.2 | 0.2
FUSION 60 | 0.9 | 1
HALO DOWN DARK | 3 | 5
HALO UP-DOWN DARK | 6.5 | 10
HYVE 22 COOL | 0.2 | 0.2
HYVE 22 DARK | 0.2 | 0.2
HYVE 22 RVS COOL | 0.2 | 0.2
HYVE 22 RVS DARK | 0.2 | 0.2
HYVE 22 RVS WARM | 0.2 | 0.2
HYVE 22 WARM | 0.2 | 0.2
HYVE COOL | 0.8 | 0.8
HYVE WARM | 0.8 | 0.8
LIV | 1.5 | 2.5
LIV CORTEN | 1.5 | 2.5
LIV DARK | 1.5 | 2.5
LIV LOW | 1.5 | 2.5
LIV LOW CORTEN | 1.5 | 2.5
LIV LOW DARK | 1.5 | 2.5
LIV LOW WHITE | 1.5 | 2.5
LIV WALL | 1.5 | 2.5
LIV WALL DARK | 1.5 | 2.5
LIV WALL WHITE | 1.5 | 2.5
LIV WHITE | 1.5 | 2.5
LUNA BLACK | 3 | 5
LUNA STAINLESS STEEL | 3 | 5
LUNA PEARL GREY | 3 | 5
MINI SCOPE | 1 | 2
MINI SCOPE CEILING | 1 | 2
MINI SCOPE DUO | 2 | 4
MINI WEDGE DARK | 0.6 | 0.6
NERO (2020 UPDATE) | 3 | 4.7
PUCK | 1.5 | 2.5
PUCK 22 | 0.6 | 0.6
PUCK 22 DARK | 0.6 | 0.6
PUCK DARK | 1.5 | 2.5
SCOPE (UPDATE 2020) | 3 | 5.2
SCOPE CEILING | 3 | 4.8
SUB | 3 | 5.6
SWAY BLACK | 1 | 1
SWAY LIGHT HEAD BLACK | 1 | 1
SWAY LIGHT HEAD PEARL GREY | 1 | 1
SWAY LOW BLACK | 1 | 1
SWAY LOW PEARL GREY | 1 | 1
SWAY PEARL GREY | 1 | 1
WEDGE | 1 | 1.6
WEDGE DARK | 1 | 1.6
WEDGE SLIM DARK | 1 | 1
WEDGE WHITE | 1 | 1.6
100-230V Fixtures
ACE DOWN 100-230V FLAT GREY | 4.5 | 11.5
ACE UP-DOWN (100-230V) | 8.5 | 20
ACE UP-DOWN 100-230V FLAT GREY | 8.5 | 20
ACE UP-DOWN CORTEN 100-230V | 8.5 | 20
ACE UP-DOWN DARK 100-230V | 8.5 | 20
ACE UP-DOWN WHITE 100-230V | 8.5 | 20
EVO DOWN DARK 100-230V | 4.5 | 11.5
HALO DOWN DARK 100-230V | 4.5 | 11.5
HALO UP-DOWN DARK 100-230V | 8.5 | 20
DISC PENDANT 100-230V | 4.5 | 4.7
DISC WALL 100-230V | 4.5 | 4.7

## CableSize
Cable Size (AWG) | Cable Constant
8 | 18960
10 | 11920
12 | 7500
14 | 3500
16 | 2200
18 | 1380
Most Common Cable Sizes and Limitations
Cable Size | Amps | Watts | 80% Amps | 80% Watts
12/2 | 20 | 240 | 16 | 192
10/2 | 30 | 360 | 24 | 288
8/2 | 40 | 480 | 32 | 384